Safety Inspection Checklist for Gas Cylinders

	
	General
	Yes
	No

	1.
	Are Safety Data sheets (SDS) available for all classes of compressed gases used?
	(
	(

	2.
	Are cylinders legibly marked to identify clearly the gas contained?
	(
	(

	3.
	Is the gas name label clearly legible on the shoulder of each cylinder?
	(
	(

	4.
	Are gas cylinders stored in areas that are protected from external heat sources such as flame impingement, intense radiant heat, electric arcs, or high temperature lines?
	(
	(

	5.
	Are cylinders secured to walls or trolleys by brackets or chains?
	(
	(

	6.
	Are cylinders located or stored in areas where they will not be damaged by passing or falling objects?
	(
	(

	7.
	Are cylinders located or stored where they will not be subject to tampering by unauthorised persons?
	(
	(

	8.
	Are fuel gas cylinders and oxygen cylinders separated by distance and fire-resistant barriers, while in storage?
	(
	(

	9.
	Are attachments used with the cylinder disconnected before transportation?
	(
	(

	10.
	Are cylinders stored or transported in an upright position?
	(
	(

	11.
	Are cylinders stored or transported in a manner to prevent them creating a hazard by tipping, falling or rolling?
	(
	(

	12.
	Are cylinders always transported in a vehicle with adequate cross ventilation?
	(
	(

	13.
	Are cylinders with a water weight capacity over 13.5 kilograms equipped with means for connecting a valve protector device, or with a collar or recess to protect the valve?
	(
	(

	14.
	Are valve protectors always placed on cylinders when the cylinders are not in use or connected for use?
	(
	(

	15.
	Are all valves closed off before a cylinder is moved, when the cylinder is empty, and at the completion of each job?
	(
	(

	16.
	Are gas cylinders checked periodically for corrosion, general distortion, cracks, or any other defect that might indicate a weakness or render it unfit for service?
	(
	(

	17.
	Are employees aware of testing procedures for gas leaks?
	(
	(

	18.
	Does the periodic check of cylinders include a close inspection of the cylinder base?
	(
	(

	19.
	Are empty cylinders kept separate from full cylinders and clearly identified?
	(
	(

	20.
	Is there adequate ventilation in the workshops where gas cylinders are located?
	(
	(


Additional Comments: 

……………………………………………………………………………………………………

……………………………………………………………………………………………………

……………………………………………………………………………………………………

Signature_________________________________________   Date___________________
This document is just a starting point, please modified to your specific circumstances.  You may need to tailored to your specific circumstances in light of any applicable laws that apply in your State or Territory.  © Community Management Solutions 2014

CMSolutions – 2014 v 1.1

Page 1 of 1

